Job Hazard Analysis for

Confined Space

Contractor Name: _____________________________	   Date: ____________

Name of confined space: _______________________________

Space Location: ______________________________________

Is It a Confined Space?

- Existing ventilation is insufficient to remove dangerous air contamination oxygen enrichment and/or oxygen deficiency which may exist or develop.

Yes  No

Description:

- Ready access or egress for removal of a suddenly disabled employee is difficult due to the location

and/or size of the opening(s).

.      Yes  No

Description:

Is It a Permit Required Confined Space?

1.   Contains or has the potential to contain a hazardous atmosphere;

Yes  No

Description:

2.   Or a material that has the potential for engulfing the entrant;

Yes  No

Description:

- Has an internal configuration such that an entrant could be trapped or asphyxiated by

inwardly converging walls or by a floor which slopes

Yes  No

Description:

4.   Contains any other recognized serious safety or health hazard.

Yes  No

Description:

Safety Hazards

Animals or insects (stinging, biting, snakes, skunks)

Low ceilings (ergonomics, sharp objects, visual obstructions)

Sharp Objects

Electrical hazards (live circuits, metal ropes around electrical devices)

Mechanical hazards (rotating belts, blades, gears, pinch points, etc.)

Adverse temperatures (steam lines, coolant lines)

Slippery ladder rungs

Rusty surfaces (cuts, hides chemicals, poor footing)

Job Hazard Analysis for Confined Space

Chemical coated walls/surfaces

Biological residue / slime (exposure, slippery surfaces, sewage)

Loud ambient noise from traffic, etc. (annoyance, communications interference)

Vibration (discomfort, noise)

Poor lighting (can’t read meters, can’t perform critical tasks)

Radiation

Extreme ergonomic conditions including those that may occur because of PPE limitations;

respirators, fall protection harnesses, connection to retrieval equipment; low ceilings.

Liquids on floors / walking surfaces (standing water)

Hazards external to the space that could affect operations (combustion exhaust, precipitation,

vehicle traffic, overhead electrical wires, chemical / hazardous materials lines nearby)

Others

Health Hazards

1.   Chemical Hazards

MSDS available?

Yes  No

2.   Asphyxiation Potential:

Yes  No

Getting to the Confined Space

Entrance easily accessible

Yes  No

Ladder, scaffold required?

Yes  No

Describe entrance, including size and location of portal:

Enough space available to set up all equipment at entrance?  Yes  No

Type of entry:    Vertical     Horizontal

Internal Configuration

    Low ceilings-how low?

Can a person:  Walk in     Erect   Stooped

Crawl in    Hands & Knees   Stomach / Back

Footing conditions inside space:

- Flat surface

- Cramped

- Round (horizontal duct)

- Uneven surface

- Slippery footing

- Obstructions that have to be stepped over

- Sharp objects

- Spilled chemicals

- Other:

- Structural Cross-Members

  - Low ceiling

  - Head hazards

  - Climb over required

     Has a configuration that will prevent adequate purging.

Job Hazard Analysis for Confined Space

Engulfment Hazards

- Liquid

 Water always present     Usual depth    Potential depth

- Powder / grains

- Sludge, Sewage

Fall Potential

- How far?

- Fall directly onto concrete / level surface

- Fall onto something sharp?

- Any place to tie-off / secure lanyard or winch

- Extraction device available?

Entry Conditions

Vertical Entries

- Stairs in place?

- Industrial stairs?

- Ships ladders?

- Fixed ladders?

- Straight portable ladders?

  - Condition of ladders?

  - Tripod accessible?

  - Even surface, tripod okay?   Not okay?  Describe:

  - Uneven surfaces, tripod not okay? Describe:

  - Tripod available has chain on legs, or not?

  - Tripod unusable due to inability to place legs, cylindrical surface?

  - Requires other method

  - Secure to overhead beam?  (Beam structurally Okay)

  - Need eccentrically support or davit?

Horizontal Entries

- Elevation above ground?

- Work platform provided to upper elevation?

- Place to secure lifeline?

- Location to place mechanical device?

- Abrasion hazards can damage rope?

Entrance / Exit Configuration

- Opening?  Type:   Round, Oval, Square, other

What diameter / size?

- Vertical?        How Far?______

- Horizontal?    How Far?______

Internal Features

  - Pipes with mechanical joints or possible openings inside space?

  - Materials in pipes / lines?

  - Electrical equipment that needs servicing?

Job Hazard Analysis for Confined Space

  - Possibility of engulfment?

  - Entrapping features (converging walls, wedging situations)

  - Pipe / lines going through the space?

  - Any mechanical joints (flanges, valves)

Contaminants To Sample For

- Oxygen

- Combustible gases?  Type:

- Toxics type:

- Direct reading instrument available?  Type:

- Use colorimetric?

Known Use of Space

- Originally

- Present use

- Contained chemicals

- Oxygen consumers? Rust, decay, wet carbon, chemical reactions, combustion

Hazards / Features of Surrounding Areas

- Piping or chemical containers?

  - What chemicals?

- How far away?

- Possibility of spill into confined space?

- High noise levels? (Communications interference)

- Soil methane present?

- Parking lot , loading area or parking spaces close by?

- Can anything fall into hole?

- Poor lighting in area?

- No electrical services?

- No ground point?

- Traffic hazards? (in surrounding area)

Seasonal Weather Effects

- Must the entry be made in bad weather?

- Precipitation could create hazards, e.g., subject to rapid flooding?

Other

- High ambient noise (or anything that can hamper communications)

- Ambient temperature extremes (heat stress, direct sun exposure, cold stress, ice formation, on

working surface?

- Poor lighting

Intended Activities, Hazardous energy hazards

- Moving machinery hazards    Written Lockout procedures in place?

- Electrical energy hazards?  Written Lockout procedures in place?

- Lockout points identified?

  - Tagged / labeled?

  - Described in procedures?

- Chemical hazards line breaking required?

- Identified shutoff valve

- Line blanking required

Job Hazard Analysis for Confined Space

Site support Features

- Certified grounding point available or in proximity?

- Electrical services present

- How many outlets? (two separate circuits recommended)

- Generator required?

- Telephone nearby?

- Rope anchorage points available for rescue?

- Other

Equipment

Type of equipment needed to enter / exit space?

- Portable ladders

Visual

- Poor lighting

- Entrants cannot be visually observed by the Attendant

Ventilation

- Space has configuration that will hamper effective ventilation / purging?

  - Convoluted space

  - Large volume

  - Second or additional opening

    - Exits close together

    - Favors flow through ventilation

    - Distance between openings

    - Estimate of spare’s internal volume

Communications

- Internal available

- Radio required

- Voice only adequate

- Intrinsic safety design required

- Radio interference

  - Inside space

  - Outside space

Distance In

- Greater than 50 feet? (Greater than the length of the extrication cable)

- Will require extra internal attendant(s)?

Sewer / Manhole Work

- Telecommunications / Electrical

- Sewer

  - Sanitary?

  - Storm?

  - Combined?

What industry

- General industry

- Telecommunications

- Electrical utility work in vaults

- Construction